## Slide 1: Blood Pressure
By
Dr. Ola Mawlana

## Slide 2: Objectives
To be able to measure arterial blood pressure using a sphygmomanometer
To recognize the effects of exercise on the arterial blood pressure

## Slide 3: Blood pressure
The force exerted by the blood against any unit area of the vessel wall
Bl. Pressure 50mmHg:
Means that the force exerted is sufficient to push a column of mercury against gravity up to a level of 50mmHg high.
Normal systolic pressure ranges from 100 to 140 mm Hg.
Normal diastolic pressure ranges from 60 to 90 mm Hg.

## Slide 4: Equipment
A stethoscope
A sphygmomanometer
A bicycle and/or a treadmill

## Slide 5: Measurement of arterial blood pressure
Precautions for measuring arterial blood pressure
The cuff size should be appropriate for the age and built of the subject. A large cuff is recommended for obese subjects while a smaller one is available for use with children.
The cuff must be applied snuggly (not too tight and not too loose) about 4 cm above the cubital fossa.
Take care that the free margin of the cuff is not on the course of brachial artery i.e. to make sure that the rubber bag within the cuff is on the medial side so that it can occlude the brachial artery when the cuff is inflated.

## Slide 6
It is important that the manometer should be at the same level as the heart to exclude the effect of gravity while measuring the blood pressure.
The mercury manometer should be in the vertical position.
Check that there is an adequate amount of mercury in the bulb of the instrument. This can be done by seeing whether the mercury level is at the zero position of the manometer.
The subject must be physically and mentally relaxed and in a comfortable environment.

## Slide 7: PALPATORY METHOD
(This method only gives an estimate of the systolic blood pressure)
The subject's arm should be resting comfortably so that it does not need to be actively supported while the blood pressure is being taken.
A standard cuff (12 x 24 cm) is applied like a bandage about 4cm above the elbow joint.
Inflate the cuff until the radial pulse cannot be felt. By compressing the brachial artery, the pulse or pressure wave can no longer be transmitted to the radial artery.
Deflate the cuff slowly. Note the pressure at which the radial pulse can be felt again for the first time. This will be the systolic blood pressure.

## Slide 8: AUSCULTATORY METHOD
(This method measures both systolic and diastolic blood pressures)
Inflate the sphygmomanometer cuff until there is no radial pulsation.
Place the diaphragm of the stethoscope over the brachial artery just above and on the medial side of the elbow joint.
Deflate the cuff slowly. A series of sounds are usually heard

## Slide 10: The korotkov sounds
These sounds are produced by turbulent flow in the constricted brachial artery.
Phase 1: The appearance of a clear tapping sound. This is the first sound that is heard and it represents the Systolic Pressure.
Phase 2: Blowing or swishing sounds.
Phase 3: The sounds become sharper and crisper.
Phase 4: An abrupt muffling of sounds.
Phase 5: All sounds disappear. The point where the sound disappears is the diastolic blood pressure.

## Slide 13: The pulse pressure
It is the difference between systolic and diastolic blood pressures.
Systolic pressure = 120 mmHg and Diastolic pressure = 80 mmHg; then
Pulse Pressure = Systolic – Diastolic pressure i.e. 120 – 80 = 40 mmHg.

## Slide 14: The mean arterial blood pressure
It is the average blood pressure within the arteries during a whole cardiac cycle and it is the force responsible for maintaining a continuous forward flow of the blood in the circulation during the whole cardiac cycle.
M.A.B.P.= diastolic blood pressure + 1/3 pulse pressure

## Slide 15: The effects of exercise on the systolic & diastolic blood pressures
MILD TO MODERATE EXERCISE
Systolic BP increases, while Diastolic BP remains the same.
Because of sympathetic stimulation, the cardiac output increases, which in turn increases the systolic BP, but no effect on diastolic BP.
SEVERE OR HEAVY EXERCISE
Systolic BP increases further and Diastolic BP decreases
More sympathetic stimulation will increase the Systolic BP further and the Diastolic BP drops because of a net decrease in the total peripheral resistance due to the more vasodilatation effect on the arterioles supplying the exercising skeletal muscles than the vasoconstriction effect on the arterioles supplying the other tissues.

## Slide 16: Factors affecting blood pressure
Posture:
In erect posture: the systolic falls a little but soon returns to normal by the compensatory mechanisms.
Age: blood pressure increase with age.
At birth: 50/30.
Adult:120/80.
Old age:170/90.
Sex:
Blood pressure is lower in females until menopause.
Body build:
Obesity increase blood pressure.

## Slide 17
Diurnal variation:
Blood pressure is lower in the morning.
Digestion:
Systolic blood pressure rises by 6-8 mmHg after meals
(1 hour).
Exercise:
Systolic blood pressure increase while diastolic blood pressure remains unchanged
Temperature:
Cold causes vasoconstriction so increase blood pressure due to increase peripheral resistance
Emotions:
Increase blood pressure
It drops during sleep and excessive hemorrhage.

## Slide 18: Thank You