## Slide 1: DNA Extraction and Purification

## Slide 2: Lab Equipment
Automatic pipettes
Microcentrifuge
Vortex
Water bath
UV-spectrophotometer

## Slide 3: Continued …
Eppendorf tube
Cuvettes
Tips
Rack- test tube
Rack- eppendorf tube

## Slide 4: DNA Extraction
Principle:
Lysis of nucleated cells.
Removal of contaminants: Any substance other than DNA, e.g., proteins.
Measurements: UV absorbance at 260nm and 280nm
Purity of DNA solution: 260/280 ratio
DNA concentration: Absorbance at 260nm

## Slide 5: Continued …
Steps:
  Lysis of nucleated cells using lysis buffer.
  Binding of DNA to the membrane of spin column.
  Wash: using wash buffer.
  Elution of pure DNA.

## Slide 6
Spin Protocol of DNA Purification from Blood

## Slide 7
Video
https://www.youtube.com/watch?v=gmNw6CWtN5k

## Slide 9
Quantification of the purified DNA

## Slide 10: Measurements
  Measure the Absorbance at 260nm and at 280nm.
  Assess the DNA purity: 260/280 ratio
  (Accepted ratio: 1.7 - 1.9)
  Calculate DNA Conc.: Provided A260 = 1.0, DNA is 50 μg/ml, unknown DNA Conc. can be calculated by cross multiplication
    A260 = 1.0 DNA conc. = 50 μg/ml
    A260 = 0.5 DNA conc. ?
    Note: In case of diluting the eluted sample, multiplies the final concentration by the dilution factor. This can be adjusted by the spectrophotometer.
Done by
the spectrophotometer

## Slide 11: DNA Yield
  DNA Yield = DNA Volume x final DNA Conc.
  Example:
  If you have
  Volume of DNA solution: 200μl (0.2 ml)
  Final DNA Conc.: 30 μg/ml
  Then, the yield (μg) = 0.2 ml x 30 μg/ml
  = 6.0 μg

## Slide 12
Molecular Techniques and Applications

## Slide 13
Note:
Almost all molecular biology techniques can be utilized for diagnosis and research

## Slide 14: a. Amplification techniques: e.g. Polymerase Chain Reaction (PCR)

## Slide 15: Continued …
Applications of PCR:
Comparison of a normal gene with a mutant form of the gene.
Detection of low-abundance nucleic acid sequences.
Forensic analysis of DNA samples.
Prenatal diagnosis.

## Slide 16: Other examples of molecular techniques:
Restriction Fragment length polymorphism (RFLP).
https://www.ncbi.nlm.nih.gov/probe/docs/techrflp/
Southern blotting.
http://www.onlinebiologynotes.com/southern-blotting-principle-procedure-application/