## Slide 1
College of Medicine, KSU
Medical education Department
Pathology Department
Medical Biochemistry Unit
GIT Block (2nd Year)
Integrated Practical (Biochemistry / Pathology)
Liver Function Tests

## Slide 2: Measurement of total bilirubin
By
Medical Biochemistry Unit

## Slide 3: Q1. What are the liver function tests (LFTs)?

## Slide 4: Q1. What are the liver function tests (LFTs)?
e.g. Viral hepatitis
(AST)
(ALT)

## Slide 5: Q2. What is bilirubin and how is it produced in the body?

## Slide 6: Q2. What is bilirubin and how is it produced in the body?
Bilirubin is a yellow bile pigment.
It is produced from the degradation of heme; which is one of the breakdown products of red blood cells.

## Slide 7: Q3. Which form of bilirubin is carried to the liver and how?

## Slide 8: Q3. Which form of bilirubin is carried to the liver and how?
The unconjugated form of bilirubin is carried to the liver
Unconjugated bilirubin forms a complex with albumin to be transported

## Slide 9
Q4.
How & why is bilirubin conjugated?
Mention 2 syndromes due to congenital deficiency of the conjugating enzyme (bilirubin glucuronyl-transferase).

## Slide 10
Q5: On the picture, mark the intracellular location for the process of conjugation?

## Slide 12: How & why is bilirubin conjugated?
Bilirubin is conjugated by addition of glucuronic acid in hepatocytes.
The conjugated-bilirubin is water soluble and can be excreted in the urine and faeces.
This prevents precipitation and deposition in tissues.

## Slide 13: Defective enzymatic conjugation of bilirubin
Examples of clinical conditions due to congenital deficiency of the conjugating enzyme ( bilirubin glucuronyl transferase)
  Crigler-Najjar syndrome
  Gilbert syndrome

## Slide 14: Q5.
How is bilirubin eliminated from the body?
What are the fates of bilirubin in the intestine?

## Slide 17
1
2
5
6
Blank
7
Using blank set
the base line at wavelength 578 nm
8
Read test (A) at 578 nm
Measurement of Total Bilirubin
3
Add 200µl
Reagent 1
Add 50µl Reagent 2
Add 1 ml Reagent 3
Blank
Test
Add 200µl serum
Add 1 ml Reagent 4
Test
Only in test
4
To blank and test
To blank and test
To blank and test
Transfer(Pour) to cuvette
Mix and wait for
5-10 min at RT
Mix and wait for
5-20 min at RT
(1drop)

## Slide 18: Calculation of total bilirubin concentration
Conc. of serum total bilirubin:
A × 185 = …... µmol/L
Note- (Normal range: 2 – 17 µmol/L)

## Slide 19: Sensitivity
Sensitivity answers the following question:
If a person has a disease, how often will the test be positive (true positive rate)? i.e.: if the test is highly sensitive and the test result is negative you can be nearly certain that the individuals don’t have disease. A Sensitive test helps rule out disease (when the result is negative). Sensitivity rule out or "Snout“
Sensitivity=
true positives
true positive + false negative
X 100

## Slide 20
Test | Disease | 
 | + | -
+ | True Positive (TP) | False Positive (FP)
- | False Negative (FN) | True Negative (TN)
Sensitivity=
TP
TP+ FN
2 X 2 Contingency Table
X 100

## Slide 21: Specificity
Specificity answers the following question:
If a person does not have the disease how often will the test be negative (true negative rate)?
i.e., if the test result for a highly specific test is positive you can be nearly certain that the individuals actually have the disease. A very specific test rules in disease with a high degree of confidence (when the result is positive).
Specificity rule in or "Spin"
Specificity=
true negatives
true negatives + false positives
X 100

## Slide 22
Test | Disease | 
 | + | -
+ | True Positive (TP) | False Positive (FP)
- | False Negative (FN) | True Negative (TN)
Specificity=
TN
TN+ FP
2 X 2 Contingency Table
X 100

## Slide 23: An ideal diagnostic lab test results for many subjects (normal and patients)
A perfect test for acute hepatitis:
The test identifies ALL patients with disease and All subjects without disease 100% of the time.
Hepatitis
N= 500
Normal
N = 500

## Slide 24: In most diagnostic lab tests, this is not the case..
Acute hepatitis
Normal
Disease
Serum bilirubin level
The lab test results in normal and disease conditions overlap.
To increase the overall accuracy of the test, the centermost point of overlapping is chosen as the cutoff value.
There are some normal subjects who will have a positive results (False positives)
There are some patients who will have negative results (False negatives)

## Slide 25: Example of calculation
A Lab test to measure serum bilirubin was performed on 1000 individuals. The test gave the following results:
Number of positive results in patients with acute hepatitis: 440
Number of positive results in normal subjects: 50
Number of negative results in normal subjects: 450
Number of negative results in patients with acute hepatitis: 60
For this Serum bilirubin test, calculate the following quality measures:
The sensitivity
The specificity

## Slide 26
Test | Disease | 
 | + | -
+ | TP | FP
- | FN | TN
Answer: draw a
2 X 2 Contingency Table
Sensitivity=
TP
TP+ FN
Specificity=
TN
TN+ FP
=
Test | Disease | 
 | + | -
+ | 440 | 50
- | 60 | 450
440
440+ 60
0.88 x100
=
Sensitivity= 88%
=
450
450+ 50
0.90x100
=
Specificity= 90%
X 100
X 100
X 100
X 100

## Slide 27
Thank
you