## Slide 1
AHMAD AMER Al-BOUKAI
Associate Professor & Consultant Radiologist
Radiology & Medical Imaging Department King Khalid University Hospital
2017

## Slide 2: Introduce the various Medical Imaging Modalities
Understand the basics of image generation
Develop imaging vocabulary in the interpretation
Relate imaging to gross anatomy
Appreciate constraints and limitations

## Slide 3: ü Medical specialty imaging studies.
that
supervises,
perform
and interprets
ü Reports findings to referring physicians to help in the patients management.

## Slide 4: PLAIN X-RAY
COMPUTED TOMOGRAPHY (CT)
NUCLEAR MEDICINE (NM)
MAGNETIC RESONANCE IMAGING (MRI)
ULTRASOUND (US)
ANGIOGRAPHY (ANG)

## Slide 5
ü
ü
ü
It is a form of electromagnetic energy that travel at the speed of light
Discovered and named by Dr. W. C. Röentgen at University of Würzburg, 1895
Electromagnetic energy wave spectrum
Microwaves
Radar
Radio waves
Gamma Rays
X-rays
Visible light
Infrared light

## Slide 6
VISIBLE LIGHT
X-RAY

## Slide 7
VISIBLE LIGHT
X-RAY

## Slide 8
X-rays are emitted and detected in cassette which generate either a hard copy film or a digital image
X-ray beam interaction with body tissue can:
² Pass all the way through the body à render the film dark (black)
² Be deflected or scattered
² Be absorbed
}
à render the film light (white)
Air = low atomic # = x-rays get through = image is dark
Metal = high atomic # = x-rays blocked = image is light (white)

## Slide 9
Widely available Inexpensive
Doesn‘t require advanced technologist knowledge
Can be performed quickly Portable
Ionizing Radiation Relatively insensitive
Requires patient cooperation

## Slide 10
ü ü ü ü
Utilizes X-Rays
Real-time imaging (Dynamic) Utilizes image intensifier
Involves use of contrast agents

## Slide 11: A modality utilized in evaluation of Gastrointestinal Tract:
Dynamic Contrast Studies

## Slide 12: Dynamic Contrast Studies

## Slide 13: Main Uses of Fluoroscopy
Gastrointestinal Imaging Genitourinary Imaging Angiography
Other:
l Intraoperative
l Foreign body removal
l Musculoskeletal

## Slide 14
Widely Available Inexpensive
Functional and Anatomic No sedation required
Requires ingestion/injection of contrast medium
Patient cooperation Time consuming

## Slide 15
ü ü ü ü
Cross Sectional imaging modality
Mobile X-ray tube that rotates around a patient.
Data displayed in multiple window settings (lungs parenchyma, bone, etc.) Density measurements analyze chemical component of tissue “Hounsfield Unit (HU)” :
Fat Air Water
= -150
= -1000
= 0
Soft tissue Blood Bone/calcium
= 20-80
= 45-75
= >100- >1000
Image key = shades (Densities)

## Slide 16
A A Al-BOUKAI-16

## Slide 17
A A Al-BOUKAI-16

## Slide 19
Lung Window
Mediastinal Window
Relies on x-rays transmitted through the body.
Differs from conventional radiography in that a more sensitive x-ray detection system is used.
Images consist of sections (slices) through the body, and the data are manipulated by a computer.
Has very small differences in x-ray absorption values compared with conventional radiography; the range of densities recorded is increased
approximately 10-fold.

## Slide 20
Lung Window
Mediastinal Window
So gradations of density within soft tissues can be recognized, e.g. brain substance from cerebrospinal fluid, or tumor from surrounding normal tissues.
There is major risk behind CT scan, 1 Brain CT scan radiation = 200 x-ray radiation , pelvic CT radiation = 400 x-ray radiation which means don’t request a CT scan unless it is needed and we can't use it for a pregnant women unless it is necessary
Wide window to visualize more structure within certain organ such as bronchi, vessels and alveoli in the lung (Lung window).
Narrow window to visualize certain structures within certain region such as major vessels and heart in mediastinum (Mediastinal window).

## Slide 21
NEURO-IMAGING
-Acute head trauma, acute intracranial hemorrhage
-Low sensitivity for early ischemic stroke, intracranial metastatic disease, white matter degenerative disease
HEAD AND NECK IMAGING
-Soft tissue of neck, paranasal sinuses, temporal bone imaging, orbital wall imaging

## Slide 22
BODY IMAGING
  Chest, Abdomen, Pelvis (with enteric and IV contrast)
  Pulmonary nodules, Renal Calculi (without contrast)
  Acute appendicitis (with enteric and IV contrast)
SPECIALIZED PROTOCOLS:
-Liver masses, pancreatic tissue, renal masses, adrenal masses

## Slide 23
ACUTE ABDOMEN
-decrease rate of false laparotomy procedures
TRAUMA SPINE IMAGING (cervical, thoracic, lumbar)
OTHER OSSEOUS STRUCTURES (pelvis, extremities)
VASCULAR IMAGING
-CT angiography--- i.e. coronary arteries

## Slide 24
A A Al-BOUKAI-23

## Slide 25
Image key = shades (Intensities)
Simply, hydrogen atoms (protons) in water molecules and lipids >> magnetism affects all protons causes them to line up in one direction >> magnets can be switched on and off to change the direction of the magnetic field
>> whenever the water molecule spin around they give a light radio wave >> MRI machine can detect it >> show it as images
So gradations of density within soft tissues can be recognized, e.g. brain substance from cerebrospinal fluid, or tumor from surrounding normal tissues.
A A Al-BOUKAI-23

## Slide 26
Sagittal
Axial
Coronal
ADVANTAGES
Best for soft tissue imaging
No ionization
Can be done for pregnant women
Images can be obtained in any plane
Useful for soft tissue pathology (Tumor, infection)
A A Al-BOUKAI-24
DISADVANTAGES
Expensive
Time consuming
Phobia (narrow place)
No metals allowed
Motion

## Slide 27
A A Al-BOUKAI-26

## Slide 28
ULTRASOUND
Echogenicity Shadowing Doppler for flow
ADVANTAGES
No radiation Can be portable
Relatively inexpensive
A A Al-BOUKAI-26

## Slide 29
A A Al-BOUKAI-27

## Slide 30
Uses gamma rays to produce an image (Counts or Activity).
Radioactive nuclide given IV, per os, per rectum etc.
Rays emitted from the patient
Physiologic imaging (Abnormal function, metabolic activity).
Poor for anatomical information.
Radioactivity stays with the patient until cleared or decayed
A A Al-BOUKAI-27

## Slide 31: Added contrast in the body
Natural contrast in the body
Air
Fat
Bone
Barium sulfate
Iodine (Water Soluble)

## Slide 32: Iodine (Water Soluble)
A A Al-BOUKAI
Barium sulfate