## Slide 1: Anaesthesia for healthy patient
Group C

## Slide 2: Case scenario
A 52-year- old man has history of progressive knee pain with swelling, his orthopaedic surgeon tentatively diagnosed him as a torn meniscus, and recommended an arthroscopy as an outpatient.
The patient has had no major illnesses other than the typical childhood diseases. He has had no previous operations or anaesthetics, nor a family history of problems with anaesthesia. He no allergic history to medications, does not smoke, diabetics on oral medication blood sugar is controlled .

## Slide 3: Cont. scenario
His laboratory results and physical examination by an internist were all normal. He has had nothing to eat or drink since he went to bed last night.
On examination, the patient weight was 75 Kg and height 182 Cm. His neck appears to be flexible and mobile. He opens his mouth without difficulty, and with his head extended and tongue protruding, his uvula is completely visible.

## Slide 4: Q1. What is the patient’s general medical condition and ASA standard classifications?

## Slide 5
This patient has a mild systemic disease (well controlled diabetes), for that his ASA standard classifications is ASA grade II.

## Slide 6: ASA classification

## Slide 7: Q2. Discuss the airway assessment for this patient?

## Slide 8
The majority of assessments relate to the ease or difficulty of this process.
Assess by history and physical examination (LEMON approach)

## Slide 9: History
Ask about:
• Past anaesthetic history – see old notes, Medic Alert bracelet;
• Surgery/radiotherapy to head and neck;
• Obstructive sleep apnoea (OSA).
• Conditions affecting:
Tongue size (e.g. acromegaly, infections, tumors);
Neck mobility (e.g. ankylosing spondylitis, infections, tumors);
Mouth opening (e.g. temporamandibular joint dysfunction).

## Slide 10: Physical exam
On general exam: LEMON law
Look externally.
Evaluate the 3-3 rule.
Three fingers of mouth opening
Three fingers between mentum and hyoid
Mallampati Score.
Obstruction /Obesity.
Neck mobility.
CT/MRI.

## Slide 11: Mallampati classification

## Slide 12: Airway assessment for this patient
Hx
No previous surgeries, or anesthetics.
No family history of anesthetic problems.
No allergies.
No major illnesses.
Diabetic controlled by oral medication.
NOT smoking.
LAST MEAL was last night.
Examination
Normal weight 75kg and 182cm (BMI of 22.64).
Neck is flexible and mobile.
Opens his mouth without difficulty.
He had mallampati grade of 1 ( with his head is extended and protruding his tongue, his uvula is completely visible).

## Slide 13: Q3. What is the check list for sign in in operating theatre and for time out?

## Slide 15: Q4. Discuss anaesthesia plan for this patient

## Slide 16
Anaesthesia plan
Preoperative Management:
Anesthetic consent
Type of anesthesia
Intraoperative Management:
  IV line
  Monitoring: ECG and vital signs
Postoperative Management
Operation details.
Blood loss
Analgesia given
Antiemetic's given
Antibiotics
Thromboprophylaxis.
*If the patient remain symptoms free we discharge

## Slide 17: Q6. Discuss the safety features of anaesthesia machine before starting anaesthesia

## Slide 18: Anaesthetic machine
Provides anaesthetic gases in the desired quantities/proportions, at a safe pressure.
Gas flow is set on the rotameter (O2, air, N2O) passing to the back bar.
Here a proportion (splitting ratio) enters a vaporizer before returning to the main gas flow. The gas leaves the anaesthetic machine at the common gas outlet (CGO), reaching the patient via a breathing circuit.

## Slide 19: Safety features
• Non-interchangeable screw threads (NISTs) prevent the incorrect
pipeline gas being connected to the machine inlet.
• A pin index system is used to prevent incorrect cylinder
connection.
• Barotrauma to both patient and machine is avoided by using pressure reducing valves/regulators and flow restrictors.
• The oxygen failure warning alarm is pressure driven and alerts of
imminent pipeline or cylinder failure.
• Accurate gas delivery: flow delivered through the anaesthetic
machine is displayed by a bobbin within a rotameter.
The gas enters the cylinder at its base, forcing the bobbin higher,
depending on the gas flow. This is a fixed pressure variable orifice
flowmeter, that is the pressure difference across the bobbin remains
constant whilst the orifice size increases further up the tapered tube.
Each rotameter is calibrated for a specific gas as their viscosity (at low,
laminar flow) and density (at higher, turbulent flow) affect the height
of the bobbin. The bobbins have spiral grooves which cause them to
rotate in the gas flow. An antistatic coating prevents the bobbin sticking. Modern anaesthetic machines give a digital representation.

## Slide 20
• Hypoxic guard: the O2 and N2O control knobs are linked, preventing <25% O2 being delivered when N2O is used. Oxygen is delivered
distal to N2O within the rotameter, preventing hypoxic gas delivery if the O2 rotameter is faulty or cracked.
• Interlocking vaporizers on the back bar prevent two anaesthetic
vapours being given simultaneously.
• Ventilator alarms warn of high and low pressure.
• Emergency oxygen flush: when pressed, oxygen bypasses the back
bar and is delivered to the CGO at >35L/min. This must be used with
caution as gas is delivered at 4 bar and does not contain anaesthetic.
• Suction: adjustable negative-pressure-generated suction is used to
clear airway secretions/vomit and must be available for all cases.
• Scavenging of vented anaesthetic gases is active, passive or a combination. Scavenged gases are usually vented to the atmosphere. Scavenging tubing has a wider bore (30mm), preventing accidental connection to breathing circuits.
Low gas flows reduce environmental impact and cost. Operating
theatre air exchange occurs through the air conditioning system (e.g.
15 times per hour). The main aim is infection control; it also serves
to remove unscavenged gases.