## Slide 1: Introduction to Emergency POCUS
April 2020
Eyad Khattab MD, MPH
Assistant Professor
College of Medicine
King Saud University

## Slide 2: Objectives
2
History
Understand the basic physics of ultrasound
Types of Transducers
Ultrasound Imaging Modes
Common Artifacts

## Slide 3: Objectives
2

## Slide 4: History
2
Ultrasound
Advancement
1956 1990 2018

## Slide 5: History
2
Traditional vs. Modern

## Slide 6: Basic Physics
“Health needs assessment is a systematic method for reviewing the health issues facing a population, leading to agreed priorities and resource allocation that will improve health and reduce inequalities (Cavanagh & Chadwick, 2005).”
6

## Slide 7: Basic Physics
7
Diagnostic US utilizes sound waves in the range of
1 MHz to 20 MHz

## Slide 8: Basic Physics
8
Many factors influence the ultrasound waves
transmitted through the human body

## Slide 9: Basic Physics
9
Reflection & Refraction & Scatter
At interfaces between different medium

## Slide 10: Basic Physics
10
High stiffness = high speed
High density = low speed

## Slide 11: Transducers
11

## Slide 12: Linear
12
High frequency (5-18) MHz
Flat surface
High resolution
Does not allow deep penetration
Maximum depth (6-8) cm

## Slide 13: Curvilinear
13
Low frequency (1 – 5) MHz
Curved surface
Allow deep penetration into the body.

## Slide 14: Phased-array
14
Low frequency (1 – 5) MHz
Allow deep penetration into the body.
Smaller footprint and flat surface.
Poor resolution in the far field when comparing with curvilinear probe.

## Slide 15: Ultrasound Imaging Modes
15
A-Mode = Amplitude
B-Mode = Brightness
C-Mode = Color Doppler
D-Mode = Pulse Wave Doppler
P-Mode = Power Doppler
M-Mode = Motion

## Slide 16: Ultrasound Imaging Modes
16

## Slide 17: Ultrasound Imaging Modes
17
M-Mode

## Slide 18: Ultrasound Imaging Modes
18

## Slide 19: Ultrasound Imaging Modes
19

## Slide 20: Ultrasound Imaging Modes
20

## Slide 21: Ultrasound Imaging Modes
21

## Slide 22: Ultrasound Imaging Modes
22

## Slide 23: Ultrasound Imaging Modes
23

## Slide 24: Gain
24

## Slide 25: Depth
25

## Slide 26: Probe Orientation
26

## Slide 27: Common Artifacts
27
Reverberation
Mirroring
Acoustic Enhancement
Shadowing

## Slide 28: Reverberation
28

## Slide 29: Mirroring
29

## Slide 30: Acoustic Enhancement
30

## Slide 31: Shadowing
31

## Slide 32: Thank You